# NEPA Environmental Assessment Questions

PLEASE NOTE: The Environmental Assessment Factors and Assessment Questions covered in this document are only applicable to Environmental Reviews completed at the Assessment level. Please See the Determining Level of Environmental Review webpage to help determine if your project requires an Assessment level of review. Environmental Reviews at the Exempt or Categorically Excluded level are NOT required to complete these questions. For questions or assistance, please contact the Environmental Officer.

This document contains Assessment Questions that should be considered for analysis of the required Environmental Assessment Factors. This document also contains a table including resources to reference and experts to contact for each Assessment Factor. Each Assessment Factor is hyperlinked to HUD’s Environmental Assessment Factors Guidance which contains additional guidance.

It is not required to specifically answer every Assessment Question for each Assessment Factor, but all should be considered, and those questions that are applicable to the proposed project should be addressed in the Environmental Review.

| Land Development Category |  |
| --- | --- |
| Factors | Assessment Questions |
| Conformance with Plans | - Is the proposal consistent with the local or regional comprehensive plan (if applicable, provide the plan’s name)? - Is the proposed project consistent with other plans, policies, and goals including those prepared by regional planning commissions, and state agencies? |
| Land Use and Zoning | - Does the proposed project comply with existing zoning and subdivision regulations? - What is the existing land use at the project location? How does the project relate to the existing land uses of the adjacent and surrounding properties? - Are the changes which will result from the proposed project regarded by the community as beneficial or negative? - Will the project have adverse effect on the economy of a core area? Will it contribute to urban sprawl? Will it displace economic activity from a central business district? - Is the proposed project incompatible with the existing scale and density of development? |
| Scale & Urban Design | - Will the project destroy or alter the natural or man-made environment (clearance of trees, buildings, alteration of the geomorphic form of the land)? - How does the project “fit” or conform with the surrounding and established built environment? Does the proposed building represent a significant change in size, scale, placement, or height; materials, color or style as compared to neighboring structures? - Will it block/obstruct views or add objectionable visual pollution (loading docks, trash bins, or parking)? Is this mitigated visually? - Does the project affect building density in the community? Are levels of activity notably increased or decreased? - Does the project conform to locally adopted design guidelines? |
| Slope | - Is the site on a slope (slight, moderate, severe, or very severe)? - If the slope is steep and/or unstable, - Is there a history of slope failure in the project area environment? - Are there visual indications of previous slides/slumps (cracked walls or tilted trees or fences)? - Does the project design include mitigation measures for erosion? - Will slope modification activities remove micro-climatic conditions that facilitate the growth of unique natural habitats? - Will the project modify the slope and affect social and cultural resources? |
| Erosion | - Does the proposed project involve development of an erosion sensitive area (near water, on a steep slope, or sandy silty soil)? If so, - Is there evidence of erosion/sedimentation? Will this be increased with project development? - Does the proposed project create slopes by cut and fill? - Is an erosion control plan included as part of design plan/ construction? - Does site clearance require vegetation removal? If so, how many acres will be cleared and for how long? How will erosion be managed and controlled? |
| Soil Suitability | - Is there any visible evidence of soil problems (foundation cracking or settling, basement flooding, etc.) in the neighborhood of the project site? - Is there evidence of unsuitable or unusual soil conditions (ground subsidence, seismic activity, a high water table) on the site? - For new construction or very substantial rehabilitation activities, does the project design include mitigation measures, if poor conditions exist? - Will the project significantly affect soils that may be better suited for natural resource management activities such as farming, forestry, unique natural area preservation, etc.? |
| Storm Water (SW) Runoff / Drainage | - Will existing or planned SW disposal and treatment systems adequately service the proposed project with respect to design capacity? - Will the project itself cause or substantially contribute to off-site pollution by storm water run-off, leaching chemicals, or other pollutants? Is permitting required to control SW runoff, leaching chemicals, or other pollutants? - Will the project site significantly affect or be affected by drainage and SW conditions? If so, does its design plan include measures to overcome potential runoff problems? - Are there visual indications of filled ground, active rills, gullies, cross-lot runoff, swales, or drainage flows on the property? |
| Hazards and Nuisances including Site Safety | - Does the proposed project involve any of the potential hazards listed below? - Noise or vibration - Odor, gas, smoke, or fumes - Air Pollution - Vacant/boarded up buildings - High pressure gas or liquid petroleum lines - Dumps/sanitary landfills or mining - Dangerous intersections, inadequate street lighting, steep stairs or walkways - Lack of Access for Emergency Vehicles - Construction areas located next to freeway/high traffic areas - Unfenced railroads, highways, water bodies or construction sites - Hazardous terrain features, cliffs or geologic faults - Shifting river channels or landslides - Poisonous plants/insects/ animals - Railroad crossings or transmission lines - Are there project users or neighboring populations whose special health and safety needs (the elderly, children, etc.) are not anticipated in the project design? |
| Noise- Contribution to Community Noise Levels | - Is the project itself a noise-generating facility in a noise-sensitive area, such as a site in close proximity to schools and housing (consider noise contribution from construction activities)? |

| Climate and Energy Category |  |
| --- | --- |
| Factors | Assessment Questions |
| Energy Efficiency | - What energy saving measures were incorporated into project plans (ex. insulation, window design and placement, lighting, HVAC systems, programmable thermostats, insulated water pipes, tankless hot water heaters, etc.)? - Is the project in conformance with HUD Minimum Property Standards and other applicable codes? - Are state and federal rebates, tax incentives, and renewable energy components being considered? - What is the estimated energy consumption of the proposal, and are the energy resources of the utility provider sufficient to support the proposal? - If applicable, will the project meet the current version of the Energy Star Performance Standards for Buildings?, LEED, or other green standard or sustainability program? - Are the greenhouse gas emissions of the project significant? - Is the project close to transit, shopping services and jobs? Will the project encourage additional private vehicle trips and increase energy consumption? |
| Climate Change Impacts | - Is the proposed project designed to withstand, within its useful life, the expected climate change related impacts projected for the area? What are these impacts? - How will increasingly frequent or severe impacts affect the project residents and natural environment? - What future climate projections were considered when planning mitigation measures? - How will the proposed project reduce its direct contribution to climate change (ex. use of low-carbon materials, infill construction)? |

| Socioeconomic Category |  |
| --- | --- |
| Factors | Assessment Questions |
| Demographic / Community Character Changes | - Will the proposed project significantly alter the demographic characteristics of the community? - Will the proposed project result in barriers or difficult access which will isolate a particular neighborhood or population, making access to local services and facilities more difficult? - Does the proposed project contribute to reducing or significantly altering racial, ethnic or income segregation of the area’s housing? - Does the proposed project create a concentration of low income or disadvantage people, in violation of HUD site and neighborhood standards? - Will the proposed project destroy or harm any community institutions, such as a neighborhood church? |
| Displacement | - Will the project directly displace individuals or families? If so, how many persons? Will the project destroy or relocate existing jobs, community facilities or any business establishment? Is the displacement covered by the Uniform Relocation Act and are funds available for payment? - Are replacement facilities or housing units available within the community or in nearby neighborhoods? |
| Employment and Income Patterns | - Will the project either significantly increase or decrease temporary and/or permanent employment opportunities? - How many temporary and how many permanent jobs will be created by the project? - Will the new jobs likely go to area residents, to lower income, unemployed and minority group members? |

| Community Facilities and Services Category |  |
| --- | --- |
| Factors | Assessment Questions |
| Educational Facilities | - Is there a projected increase in student population to be created by the proposed development? Will this increase exceed the capacity of the existing or planned school facilities? If so, how will problems or conflicts be mitigated? - Do the potentially affected school(s) have safe access facilities (walking paths, bus routes, crosswalks and guards) given the project population increase? |
| Commercial Facilities | - Is there adequate and convenient access to retail services (within walking distance)? - Do local retail services meet the needs of the project users? Are they affordable and is the range of services adequate? - Will existing retail and commercial service be adversely impacted by the proposed project? |
| Health Care | - Are non-emergency health care services located less than 30 minutes from the proposed project? - Are hospital/health care centers less than 10-15 minutes away? - Will the increase in population from the proposed development increase the need for area health care services beyond current capabilities? - Will the project residents require special medical services (ex. geriatric care)? |
| Social Services | - Are social services currently located in close proximity to the prospective users/residents (within walking distance, convenient to public transit or less than a 30-minute drive)? - Will the demand for social services overburden existing facilities? - Will social services be overtaxed or negatively impacted by the proposed project? |
| Solid Waste Disposal / Recycling | During Construction - What types and amounts of waste will be generated as construction debris? - What solid waste disposal system or company will handle construction debris? Post construction - What types of solid waste will be generated by the completed project? Will a solid waste permit be required? - If the project’s end use will produce hazardous waste, does the service company/landfill accept hazardous waste? - Will the existing or planned solid waste disposal system adequately service the proposed development? Will the residents/users of the proposed project have to pay for services? |
| Wastewater / Sanitary Sewers | Sewer - Does the existing or proposed sewer system have the capacity to adequately service the proposed development? Septic Systems - In less developed areas, are soils suitable for onsite wastewater disposal such as septic systems? Is a permit required? - How will climate change affect septic suitability in the future? |
| Water Supply | - Will either the municipal water utility or on-site water supply system be adequate to serve the proposed project? - Will the project water requirements of the proposal result in a significant consumption of the community’s available water supply or result in a significant deterioration of water quality? |
| Public Safety - Police - Fire - Emergency Medical | - Does the project location provide adequate access to police, fire and emergency medical services? Does the project design provide easy access for emergency vehicles and individuals? - Are there obstacles to access, such as one-way roads, narrow bridges, waterways, expressways and railroads which would prohibit access in an emergency situation? Will the project create such obstacles? - Are police services, firefighting protection services and emergency health care providers adequate and equipped to service the project? |
| Open Space, Recreation and Cultural Facilities | - Are open space, recreational and cultural facilities within reasonable proximity to the project area? Is there public transportation from the project to these facilities? - Is there an adequate supply of these resources for the users or resident population of the development? Will the project cause any overloading of existing open space, recreation or cultural facilities? - If the development is housing, has space for informal play for children of all ages been included on-site? Have areas for recreation for adults and the elderly been provided including places for passive recreation? |
| Transportation and Accessibility | - Does the project require a traffic study? If so, were any actions identified that need to be taken? - Is the project served by safe and adequate public transportation services? - Is the project accessible to the elderly and disabled? Are there special transportation issues? Have exclusive handicapped parking spaces been designated? - Does the project facilitate pedestrian movement (sidewalks, pavement markings, landscaping or pedestrian-activated signal lights? - Is the project area served by bicycle lanes and does the project provide parking for bicycles? - Overall, will existing transportation services be adequate to meet the needs of the project? - Will the project itself cause a significant adverse impact on the local or regional transportation system? Will the project adversely impact the local or regional transportation system? |

| Natural Features Category |  |
| --- | --- |
| Factors | Assessment Questions |
| Water Resources (Groundwater / Surface Water) | Groundwater - Will the project use groundwater for its water supply? If so, is the groundwater safe for use for the intended purposes? - Are there a large number of wells, or wells that pump large quantities of water from the water table near the proposed project site? - Are septic systems being used? Have septic disposal systems been properly designed, installed and maintained to prevent effluent from contaminating groundwater supplies? - Will the project substantially reduce groundwater recharge due to increase in impervious surface area? If so, are sensitive groundwater dependent features (e.g. rare wetlands) present that could be affected? If yes, have appropriate measures been included in the design to promote groundwater recharge? Surface Water - Are there visual indicators of water quality problems on or near the site (ex. algal blooms, dead fish, oil contamination)? - Will the project involve a substantial increase in impervious surface area, and, if so, have runoff control measures and/or permeable surfaces been included in the design? |
| Unique Natural Features | - Are natural resources/unique natural features visible on site or in the vicinity? Will any such resources be adversely affected, or will they adversely affect the project (e.g. caves, cliffs, vistas/view sheds, canyons, waterfalls, sand dunes, or tree stands)? - If applicable, will the unique feature pose safety hazards for a proposed development? |
| Vegetation and Wildlife | Vegetation - Will the project damage/destroy existing plant communities, especially threatened, rare, or endangered species? - Will the project damage or destroy trees without replacement and landscaping? - Will the project introduce nuisance or non-indigenous species of vegetation that may be ecologically disruptive or invasive? Wildlife - Will the project damage/destroy wildlife habitats (ex. removal or blockage of wildlife corridors), or create special hazards for animal life (ex. excessive noise, pesticide usage)? - Will the project create conditions favorable to the proliferation of pest species? - Will the proposed project impact any threatened, rare, or endangered species, including migratory birds? - Will grading alter groundwater levels and thus affect wildlife habitat? - Will the project damage game fish habitat or spawning grounds (consider off-site erosion and storm water runoff)? |

| Resources to Reference and Experts to Contact |  |
| --- | --- |
| Conformance with Plans And Land Use and Zoning | - Agency of Commerce and Community Development (ACCD) staff - Regional Planning Agency - Local Zoning Administrator - Planning Commissioner |
| Scale & Urban Design | - Vermont Division for Historic Preservation (VDHP) staff |
| Slope, Erosion and Soil Suitability | - NRCS Soil Survey - Local hazard mitigation plans - Agency of Natural Resources- Landslide Inventory - Civil engineer, soil scientist |
| Storm Water Runoff / Drainage | - Civil engineer |
| Energy Efficiency | - HUD Minimum Property Standards - VT Residential Building Energy Standards - VT Commercial Building Energy Standards |
| Climate Change Impacts | - Local hazard mitigation plans - State Hazard Mitigation Plan - Regional Planning Commission Regional Plan - Guidelines on Flood Adaptation for Rehabilitating Historic Buildings |
| Demographic / Community Character Changes | - U.S. Census - HUD Site and Neighborhood Standards |
| Educational Facilities | - School Superintendent - Project Developer |
| Commercial Facilities | - Local Chamber of Commerce - Regional Development Corporation |
| Healthcare | - Local Council on Aging |
| Social Services | - HUD Site and Neighborhood Standards |
| Solid Waste Disposal / Recycling | - Construction Manager |
| Wastewater / Sanitary Sewers And Water Supply | - Construction Manager - DEC Wastewater System and Potable Water Supply (WW) Program |
| Open Space and Recreation, Cultural Facilities | - Dept of Forest, Parks, and Recreation |
| Transportation and Accessibility | - Project engineer |
| Water Resources (Groundwater / Surface Water) | - Town/City Plan identifies groundwater and surface water features |
| Unique Natural Features | - Town/City Plan identifies unique natural features - Aerial photos/reports and maps |
| Vegetation and Wildlife | - IPaC report - Town/City plans |