SECTION 675-0003– MUNICIPAL GUIDANCE SIGN

675-0003.01  DESCRIPTION. This work shall consist of constructing, furnishing, and installing sign posts and municipal guidance signs in accordance with Section 675 and as shown on the Plans.

675-0003.02  MATERIALS. Materials shall meet the requirements of the following subsections:

Powder Coating Systems	708.02

Flat Sheet Aluminum	750.03

Retroreflective Sheeting	750.04

Assembly Hardware	750.05

Materials shall be in accordance with the Plans and specifications and shall be approved by the Engineer prior to use.

675-0003.03  GENERAL REQUIREMENTS. Work shall be performed in accordance with Subsection 675.03 through Subsection 675.09, the Plans, and the specifications.

675-0003.04  METHOD OF MEASUREMENT. The quantity of Municipal Guidance Sign to be measured for payment will be the number of square feet of flat sheet aluminum installed in the complete and accepted work. The measured quantities of Municipal Guidance Signs with retroreflective sheeting on both sides shall be multiplied by a factor of 1.5.

675-0003.05  BASIS OF PAYMENT. The accepted quantity of Municipal Guidance Sign will be paid for at the Contract unit price per square foot. Payment will be full compensation for furnishing, erecting, fabricating, transporting, handling, and installing frames, supports, tee bars, mounting hardware, signs, and sign posts as required, and for furnishing all labor, materials, tools, equipment, and incidentals necessary to complete the work.

Excavation and backfill will not be paid for separately but will be considered incidental to the unit price.

Timber sign posts will be paid for under item 522.3000 Nonstructural Lumber, Untreated.

Payment will be made under:

Pay Item									Pay Item

675.2000002  Municipal Guidance Sign	Square Foot