SECTION 675-0002 – WAYFINDING SIGNS

675-0002.01  DESCRIPTION. This work shall consist of constructing, furnishing, and installing sign post foundations, sign posts, and wayfinding signs in accordance with Section 675 and as shown on the Plans.

675-0002.02  MATERIALS. Materials shall meet the requirements of the following subsections:

Bar Reinforcement	713.01

Sign Posts	750.01

Extruded Aluminum Panels	750.02

Flat Sheet Aluminum	750.03

Retroreflective Sheeting	750.04

Assembly Hardware	750.05

Concrete shall conform to the requirements of Section 541 for Concrete, Class B.

Materials shall be in accordance with the Plans and specifications and shall be approved by the Engineer prior to use.

675-0002.03  GENERAL REQUIREMENTS. Work shall be performed in accordance with Subsection 675.03 through Subsection 675.09, the Plans, and the specifications.

675-0002.04  METHOD OF MEASUREMENT. The quantity of Wayfinding Sign to be measured for payment will be the number of square feet installed in the complete and accepted work. The measured quantities of wayfinding signs with retroreflective sheeting on both sides shall be multiplied by a factor of 1.5.

675-0002.05  BASIS OF PAYMENT. The accepted quantity of Wayfinding Sign will be paid for at the Contract unit price per square foot. Payment will be full compensation for furnishing, erecting, fabricating, transporting, handling, and installing frames, supports, tee bars, mounting hardware, signs, and sign posts as required, and for furnishing all labor, materials, tools, equipment, and incidentals necessary to complete the work.

Excavation and backfill will not be paid for separately but will be considered incidental to the Contract unit priced for other items in the Contract.

Payment will be made under:

Pay Item									Pay Item

675.2000002  Wayfinding Sign	Square Foot