SECTION 679-0002 – REMOVE AND RELOCATE STREET LIGHT ASSEMBLY

679-0002.01  DESCRIPTION. This work shall consist of removing and relocating street lighting assemblies at the locations indicated on the Plans in accordance with the applicable requirements of Section 679.

- 679-00032.02 MATERIALS. Materials shall meet the requirements of the following subsections:

Anchor Bolts for Traffic Signals, Lighting and Overhead Signs	714.09

Grounding Electrodes	752.11

Light Pole Foundations	753.01

Transformer Bases	753.02

Light Poles	753.03

Bracket Arms	753.04

Luminaires	753.05

Highway Illumination Conductor Cable	753.06

Finish of Highway Illumination Components	753.07

Materials shall be in accordance with the Plans.

679-0002.03 GENERAL REQUIREMENTS. Work shall be performed in accordance with Subsection 679.03 through Subsection 679.17 and be in accordance with the Plans.

679-0002.04 METHOD OF MEASUREMENT. The quantity of Remove and Relocate Street Light Assembly to be measured for payment will be the number of each street light assembly removed and relocated in the complete and accepted work.

679-0002.05 BASIS OF PAYMENT. The accepted quantity of Remove and Relocate Street Light Assembly will be paid for at the contract unit price per each.

Payment will be full compensation for removing the light, light pole, and foundation; installing wiring and conduit; transportation, handling, and resetting lights with new foundations at locations indicated on the Plans or as directed by the Engineer; providing any new conduit, wiring, hardware, bulbs, and accessories; performing any necessary excavation, backfilling, electrical connections, and testing; and for furnishing all labor, materials, tools, equipment, and incidentals necessary to complete the work.

Payment will be made under:

Pay Item									Pay Item

679.4600001  Remove and Relocate Street Light Assembly	Each